## Slide 1: Enterobacteriaceae
Biochemical Reactions

## Slide 2: IMViC Test
Indole, Methyl Red, Voges-Prosakaur, Citrate (IMViC) Tests:
  The following four tests comprise a series of important determinations that are collectively called the IMViC series of reactions
  The IMViC series of reactions allows for the differentiation of the various members of Enterobacteriaceae.

## Slide 3: IMViC: Indole test
Principle
  Certain microorganisms can metabolize tryptophan by tryptophanase
  The enzymatic degradation leads to the formation of pyruvic acid, indole and ammonia
  The presence of indole is detected by addition of Kovac's reagent.
Tryptophane
amino acids
Tryptophanase
Indole + Pyurvic acid + NH3
Kovac’s Reagent
Red color in upper organic layer`

## Slide 4: IMViC: Indole test
  Method:
  Inoculate tryptone water with the tested microorganism
  Incubate at 37°C for 24 hours
  After incubation interval, add 1 ml Kovacs reagent, shake the tube gently and read immediately

## Slide 5: IMViC: Indole test
  Result:
  A bright pink color in the top layer indicates the presence of indole
  The absence of color means that indole was not produced i.e. indole is negative
  Special Features:
  Used in the differentiation of genera and species. e.g. E. coli (+) from Klebsiella (-).
Positive test
e.g. E. coli
Negative test
e.g. Klebsiella

## Slide 6: IMViC test Methyl Red-Voges Proskauer (MR-VP) Tests
Glucose
Acidic pathway
Mixed acids
 pH less than 4.4
Methyl Red
indicator
Red color
Principle
MR positive
E. coli
Or
Neutral pathway
Acety methyl carbinol
(ACETOIN)
Barrit’s A
Barrit;s B
Pink color
VP positive
Klebsiella

## Slide 7: IMViC test: MRVP test
  Inoculate the tested organism into One tube of MRVP broth
  Incubate the tubes at 37°C for 24 hours
  AFTER INCUBATION: Pour 1/3 of the suspension into a clean nonsterile tube:
  Run the MR test in the tube with 2/3, and the VP test in the open tube with 1/3.
      For methyl red: Add 6-8 drops of methyl red reagent.
      For Voges-Proskauer: Add 12 drops of Barritt's A (-naphthol), mix, 4 drops of Barritt's B (40% KOH), mix
      Let sit, undisturbed, for at least 1hour
Method

## Slide 8: IMViC test: MR/VP test
Results
Methyl Red test
Voges-Proskauer test
Red: Positive MR (E. coli)
Yellow or orange: Negative MR (Klebsiella)
Pink: Positive VP (Klebsiella)
No pink: Negative VP (E. coli)

## Slide 9
Citrate Utilization Test
Principle:
Citrate
Na2CO3
Alkaline,↑pH
Blue colour
Bromothymol blue
Simmone’s Citrate media
Positive test: Klebsiella, Enterobacter, Citrobacter
CO2 + Na + H2O
Pyruvate
Positive test
Negative test: E. coli
Contains Citrate as a sole of C source

## Slide 10: Citrate Utilization Test
Incubate at 37°C for 24 hours.
Method
Streak a Simmon's Citrate agar slant with
the organism

## Slide 11: Citrate Utilization Test
Examine for growth (+)
Growth on the medium is accompanied by a rise in pH to change the medium from its initial green color to deep blue
Result
Positive
Klebsiella, Enterobacter
Negative
E. coli

## Slide 12: Urease Test
Urea agar contains urea and phenol red
Urease is an enzyme that catalyzes the conversion of urea to CO2 and NH3
Ammonia combines with water to produce ammonium hydroxide, a strong base which ↑ pH of the medium.
↑ in the pH causes phenol red r to turn a deep pink. This is indicative of a positive reaction for urease
Urea
Urease
CO2 + NH3
H2O
NH4 OH
↑ in pH
Phenol Red
Pink
Positive test
Streak a urea agar tube with the organism
incubate at 37°C for 24 h
Method
Principle

## Slide 13: Urease Test
If color of medium turns from yellow to pink indicates positive test.
Proteus give positive reaction after 4 h while Kelebsiella and Enterobacter gave positive results after 24 h
Result
Positive test
Negative test

## Slide 14: Reaction on Triple Sugar Iron (TSI) Agar
TSI contains
  Three different types of sugars
    Glucose (1 part)
    Lactose (10 part)
    Sucrose (10 part)
  Phenol red (acidic: Yellow)
TSI dispensed in tubes with equal butt & slant
Principle
  To determine the ability of an organism to attack a specific carbohydrate incorporated into a basal growth medium, with or without the production of gas, along with the determination of possible hydrogen sulphide production.

## Slide 15: Reaction on TSI
Method:
  Inoculate TSI medium with an organism by inoculating needle by stabbing the butt and streaking the slant
  Incubate at 37°C for 24 hours

## Slide 16
Reaction on TSI |  |  | Result | Example
Butt color | Slant color | H2S |  | 
Red | Red | Negative | Alk/Alk/- (No action on sugars) | Non fermenter e.g. Pseudomonas
Yellow | Red | Negative | A/Alk/- (Glucose fermented without H2S) | LNF e.g. Shigella
Yellow | Red | Positive black in butt | A/Alk/+ (Glucose fermented with H2S) | LNF e.g. Salmonella & Proteus
Yellow | Yellow | Negative | A/A/- (three sugars are fermented) | LF e.g. E. coli, Klebsiella, Enterobacter
Result

## Slide 17
 | Gram stain | Oxidase | Nitrate reductase | O/F | MacConkey | SS | EMB
E. coli | -ve rod | -ve | +ve | O+/F+ | LF | LF | Metallic sheen
Citrobacter | -ve rods | -ve | +ve | O+/F+ | LF | LF | Dark
Klebsiella | -ve rods | -ve | +ve | O+/F+ | LF | LF | Dark
Enterobacter | -ve rods | -ve | +ve | O+/F+ | LF | LF | Dark
Salmonella | -ve rods | -ve | +ve | O+/F+ | NLF | NLF/H2S | Colorless
Shigella | -ve rods | -ve | +ve | O+/F+ | NLF | NLF | Colorless
Proteus | -ve rods | -ve | +ve | O+/F+ | NLF | NLF/H2S | Colorless
Summary of morphology, cultural characteristics,
and biochemical reactions of Enterobacteriaceae

## Slide 18
 | TSI | Indole | MR | VP | Citrate | Urease | Motility
E. coli | A/A/- | +ve | +ve | -ve | -ve | -ve | Motile
Citrobacter freundii | A/A/- | +ve | +ve | -ve | +ve | -ve | Motile
Klebsiella pneumoniae | A/A/- | -ve | -ve | +ve | +ve | +ve | Non motile
Enterobacter cloacae | A/A/- | -ve | -ve | +ve | +ve | +ve | Motile
Salmonella typhi | A/Alk/+ | -ve | +ve | -ve | +ve | -ve | Motile
Shigella boydii | A/Alk/- | -ve | +ve | -ve | -ve | -ve | Non motile
Proteus mirabilis | A/Alk/+ | -ve | +ve | -ve | +ve | +ve | Motile Swarwing
Summary of morphology, cultural characteristics,
and biochemical reactions of Enterobacteriaceae

## Slide 19
Oxidase Test
Positive
Negative
Pseudomonas
Enterobacteriaceae
Identification of Gram's -ve rods
Nitrate test: +ve further
reduction to N2
Growth on cetrimide agar:
Pale colonies with green
pigmentation
MacConkey’s agar
& TSI
Lactose fermenter
Pink colonies on MacConkey
& acidic butt and slant on TSI
colorless colonies on MacConkey
& acidic butt alkaline slant onTSI
Lactose non-fermenter
IMViC test
& EMB
IMViC
++ - -
& black colonies with metalic shines on EMB
E.coli
IMViC
- - ++
Klebsiella
No H2S production
(no blacking in TSI)
H2S production
(blacking in TSI)
Shigella
Urease production
+ve
Proteus
-ve
SS agar
colorless colonies with black centers
Salmonella
O/F test: O+/F-
Motility
Not motile
Motile
Enterobacter

## Slide 20: Practical Work
Reaction on TSI
Indole Test
MR test
VP test
Citrate Utilization test
Urease test